## Solicitud - Datos de Aplicacion
Fecha:
| 1.0 | DATOS DE CONTACTOS
| 1.1 | Usuario Final - Compañía y Dirección
| 1.1.1 | Nombre del Contacto para la Instalación |  |  |  | Cargo
| 1.1.2 | Número de Teléfono |  |  |  | Email
| 1.2 | Nombre del Comprador |  |  |  | Email
| 1.3 | Formulario Llenado por |  |  |  | Email
| 2.0 | INFORMACIÓN PARA VALIDAR LA APLICACIÓN
| 2.1 | Descripción de Aplicación (ej. Estación de Bombeo, Cieno Activado, Efluente, etc.)
| 2.2 | Tipo de Líquido
| 2.3 | Tamaño Nominal de la Tubería | Dia: |  | Sch: |  |  | Dia Externo Medido:
| 2.4 | Especificación Estándar de la Tubería
| 2.5 | Material de la Tubería
| 2.6 | Material del Revestimiento Interno/Liner
| 2.7 | Espesor del Revestimiento Interno/Liner
| 2.8 | Temperatura del Proceso (Celsius) | Min. | Nom. |  | Max.
| 2.9 | Caudal del Flujo y Unidad de Medida | Min. | Nom. |  | Max.
| 2.10 | Orientación de la Tubería
| 2.10.1 | ¿Si no horizontal, flujo subiendo o bajando?
| 2.11 | ¿Tubería llena?
| 2.12 | ¿Cómo está impulsado?
| 2.13 | Características Especiales
| 2.14 | Condición del Exterior de la Tubería
| 2.15 | Interrupcion(es) del Flujo Aguas Arriba Interrupcion(es) del FlujoAguas Abajo | Distancia:
Distancia:
| 3.0 | INFORMACIÓN PARA CONFIGURAR EL MEDIDOR Y COTIZAR
| 3.1 | Clasificación del Área
| 3.2 | Alimentación Eléctrica
| 3.3 | Señales de Salida Requeridas
| 3.3.1 | Si FF o Profibus, marca y versión del DCS:
| 3.4 | Mediciones Requeridas
| 3.5 | Montaje del Trasmisor
| 3.6 | Largo de Cable (incrementos de 25' hasta 300') | [7 empty] | Otro:
| 3.7 | ¿Cotización presupuestaria?
| 3.8 | Requiere Cotización para la Instalación:
| 3.9 | Fecha que Se Necesita la Cotización: |  |  | Fecha de Instalación:
| 3.10 | Número del Tag del Instrumento |  |  | PID # |  |  |  | Línea
| 3.11 | Otro:
| 3.12 | Suministre fotos del punto de la instalación, esquema PID, diagramas de la tubería, etc. si posible.
BF0045-sp - Wastewater/Water Appl Data Form Rev B |  |  | CiDRA |  |  |  | Teléfono: +1-203-265-0035
|  |  | www.cidra.com |  |  |  | E-mail: customersupport@cidra.com
ANSI
HDPE
Tubo
Otro:
Acero
Hierro dúctile
Otro:
Goma
HDPE
Cerámico
Ninguno
Otro:
Horizontal
Vertical
Ángulo
Otro:
Si
No
Desconocido
AC (90V-240V)
DC (18V-36V)
4/20mA
Modbus
Fundación de Fieldbus (FF)
Profibus
Flujo
SOLICITUD DE DATOS DE APLICACIÓN - AGUA Y AGUAS RESIDUALES:
INFORMACIÓN PARA INSTALACIÓN Y COTIZACIÓN
Subiendo
Bajando
Otro:
Si
No
Desconocido
Desconocido
Pintado
Aislado
Oxido
Soldadura Axial
Cubierto
Desconocido
Condición Buena
Montaje en Panal
Montaje en Tubería
Bomba Centrífugo
Gravedad
Bomba PD
Otro:
No-Explosivo
Clase 1 Div 2
Clase 1 Zona 2 (ATEX)
Bomba
Válvula
Expansión
Otro:
Codo
Soldadura Longitudinal
Soldadura Espiral
Incrustaciones
Separada - CiDRA
Separada - Representante
No Cotización para la Instalación
Otro:
Aguas Residuales
Agua
25' (7m)
50' (15m)
75' (22m)
100' (30m)
150' (45m)
m3/h
gpm
Otro:
Bomba
Válvula
Expansión
Otro:
Codo

## Request for Application Data (hidden)
Date:
| 1.0 | CONTACT INFORMATION
| 1.1 | End User - Company Name & Address
| 1.1.1 | Contact at Installation - Name |  |  | Title
| 1.1.2 | Telephone Number |  |  | Email
| 1.2 | Buyer Name |  |  | Email
| 1.3 | Form Completed by |  |  | Email
| 2.0 | APPLICATION INFORMATION FOR VALIDATION
| 2.1 | Application Description (ex. Cyclone Feed Line, Tailings Thickener Underflow, etc.)
| 2.2 | Fluid Type (check all that apply)
| 2.3 | Nominal Pipe Size | Dia: | Sch: |  |  | Measured OD:
| 2.4 | Pipe Specification Standard
| 2.5 | Pipe Material
| 2.6 | Liner Material
| 2.7 | Liner Thickness
| 2.8 | Process Temperature (Celsius) | Min. | Nom. |  |  | Max.
| 2.9 | Flow Rate & Units of Measure | Min. | Nom. |  |  | Max.
| 2.10 | Pipe Orientation
| 2.10.1 | If not horizontal, up-flow or down-flow?
| 2.11 | Full pipe?
| 2.12 | What is driving flow?
| 2.13 | If slurry, solids type |  |  |  | % Solids by Weight:
| 2.14 | Special Characteristics
| 2.15 | Exterior Pipe Condition
| 2.16 | Flow Disturbance(s) within 20 Pipe Diameters Up-stream and/or Down-stream of Flowmeter
Distance:
| 3.0 | METER CONFIGURATION & QUOTE INFORMATION
| 3.1 | Area Location Classification
| 3.2 | Power Supply
| 3.3 | Outputs Required
| 3.3.1 | If FF or Profibus, specify DCS brand & version:
| 3.4 | Measurements Required (2 available per meter)
| 3.5 | Transmitter Mount
| 3.6 | Cable Length in Feet (25' increments up to 300') | [6 empty] | Other:
| 3.6.1 | Is armored cable required?
| 3.7 | Is this a budgetary quote?
| 3.8 | Installation Quote Required
| 3.9 | Quote Need By Date: |  | Installation Need By Date:
| 3.10 | Instrument Tag Number |  | PID # |  |  |  | Line #
| 3.11 | Other:
| 3.12 | Supply pictures of installation point, PID, diagrams of layout, etc. if possible.
BF0034-Request for Application Data Short Form-Rev 02a |  |  | CiDRA Minerals Processing, Inc. |  |  | Phone: +1-203-265-0035
|  |  | www.cidra.com |  |  | E-mail: customersupport@cidra.com
Gas (STOP - Use Gas Application Sheet BF0008)
Liquid Other Than Water (acid, leach sol., glycol, etc.):
Slurry
Water
ANSI
HDPE
Tube
Other:
Steel
HDPE
PVC
Other:
Rubber
HDPE
Ceramic
Unlined
Other:
Horizontal
Vertical
Angled
Other:
Yes
No
Unknown
AC (90V-240V)
DC (18V-36V)
4/20mA
Modbus
Foundation Fieldbus (FF)
Profibus
Flow
Entrained Air
Sound Pressure Level
Speed of Sound
25' (7m)
50' (15m)
75' (22m)
100' (30m)
150' (45m)
REQUEST FOR APPLICATION DATA:
INFORMATION FOR INSTALLATION & QUOTATION
Up-Flow
Down-Flow
Paste
Other:
Yes
No
Unknown
Unknown
Painted
Insulated
Rusted
Axial Weld
Coating
Unknown
Good Condition
Panel Mount
Pipe Mount
Centrifugal Pump
Gravity
PD Pump
Other:
Non-hazardous
Class 1 Div 2
Class 1 Zone 2 (ATEX)
Pump
Valve
Expansion
Reduction
Other:
Elbow
T/Y
Longitudinal Weld
Spiral Weld
Corrosive Fluid
Abrasive Fluid
High Pressure
Scale Buildup
Separate - CiDRA
Separate - Representative
Incl. in Meter Price
Separate Line Item
No Installation Quote
Other:
Yes
No
Unknown